EVALUATION OF P-V CURVE FOR THE DETERMINATION OF THE POINT OF POWER SYSTEM VOLTAGE COLLAPSE

Enemuoh F.O		Aghara J.V.C        		Anierobi C.C

fo.enemuoh@unizik.edu.ng	ja.aghara@unizik.edu,ng	cc.anierobi@unizik.edu.ng

eneody@yahoo.com		Jachi_Aghara@yahoo.com            chiomaemeka22@yahoo.co.uk

Department of Electrical Engineering

NnamdiAzikiweUniversity,Awka

ABSTRACT

This paper presents evaluation of P-V curve for the determination of the point of power system voltage collapse.Continuation power flow is used to obtain P-V curve of an interconnected electric power system. Continuation power flow starting with initial operating point and increasing load to the maximum loading point to obtain P-V data is implemented .Critical Voltages are found for the weakest buses from the results. A standard power flow simulation tool Power World Simulator is used to run continuation power flow.

Keywords: Voltage Collapse, Continuation Power flow, Critical Voltage, Maximum Loading Point, P-V Curve.